## Sheet2
Project ID | Project Name | State | Location | Latitude | Longitude | Voltage Level | Project Type | Scope | Technology | Status | Benefits | Client Name | Completion Date | Project Cost | Description | Image Folder
0788DR | 220kV GIS Package SS-75 for Extension of 220kV Drass (GIS) Substation & Extension of 220kV Alusteng (AIS) Substation under Transmission System Strengthening of Srinagar Leh Transmission System | Union Territory of Ladakh | DRASS | 34.4303°N | 75.7531°E | 220kV | GIS Bay Extension | EPC | GIS | Completed | Provides Reactive Power consumption ot critical SLTS Transmission line | PGCIL | 20.11.2025 | INR 57.05 CR | 220 KV , 8.33 Mvar 1-PH Bus reactor (07 no.s) along with associated GIS Bays. | 0788DR
0788DS | 220kV GIS Package SS-75 for Extension of Drass and 66/11kV New Zoji la East (GIS) S/S under consultancy services to NHIDCL | Union Territory of Ladakh | DRASS | 34.4303°N | 75.7531°E | 220kV & 66kV | GIS Bay Extension | EPC | GIS | Completed | Provides Transformation of power (50 MVA) to be fed to Zojila East Portal Ss | PGCIL | 25.12.2025 | INR 54.31 CR | 220/66 KV , 16.67 MVA 1-PH ICT (03 nos.) along with associated GIS Bays and 66 KV Double Ckt line bays. | 0788DS
0788ZO | 220kV GIS Package SS-75 for Extension of 220kV Drass (GIS) Substation & Extension of 220kV Alusteng (AIS) Substation under Transmission System Strengthening of Srinagar Leh Transmission System | Union Territory of Ladakh | DRASS | 34° 19' 37'' N | 75° 34' 0'' E | 66kV & 11kV | GIS New Substation | EPC | GIS | Ongoing | Provides Critical Power supply (50 MVA) to be fed to Zojila East Portal Tunnel. | PGCIL | 31.08.2026 | INR 58.40 CR | 66/11 KV , 25 MVA 3-PH ICT (02 nos.) along with associated GIS Bays and 66 KV Doubel ckt line bays & 11 KV (10nos.) Ckt line bays. | 0788ZO
0788AL | 220kV GIS Package SS-75 for Extension of Drass and 66/11kV New Zoji la East (GIS) S/S under consultancy services to NHIDCL | Union Territory of Jammu and Kashmir | SRINAGAR | 34° 11' 26'' N | 74° 49' 30'' E | 220kV | AIS Bay Extension | EPC | AIS | Completed | Provides Reactive Power consumption ot critical SLTS Transmission line | PGCIL | 16.03.2025 | INR 11.92 CR | 220 KV , 25 Mvar 3-PH Bus reactor along with associated AIS Bays. | 0788AL
0819NI | Substation Package SS98 : (i) Construction of New 220/33 kV GIS (New) Substation at Nilgrar (ii) LILO of one ckt of Alusteng – Leh 220KV S/c line on D/c towers. (iii) Laying of 33 KV lines (consists of Overhead line (OH) and 33 kV Underground cable (UG)) under Western Zojila Consultancy Work to M/s. NHIDCL | Union Territory of Jammu and Kashmir | GANDERBAL | 34° 17' 13'' N | 75° 19' 42'' E | 220kV & 33kV | GIS New Substation | EPC | GIS | Ongoing | Provides Critical Power supply (50 MVA) to be fed to Z-Morh Tunnel and other inter-connected tunnels. | PGCIL | 27.04.2027 | INR 196.45 CR | 220/33 KV , 25 MVA 3-PH ICT (02 nos.) along with associated GIS Bays and 220 KV Double ckt line bays & 33 KV (03nos.) Ckt line bays and Overhead nd Undergrpund Feeders. | 0819NI
0829BH | Substation Package SS148 : (i) Extn. of 765kV Bhuj-II PS (GIS) associated with Augmentation of transformation capacity at Bhuj-II PS (GIS) and, (ii) Extn. of 765kV Bhuj-II PS (GIS) associated with Provision of ICT Augmentation and Bus Reactor at Bhuj-II PS. | GUJARAT | KUTCH | 23° 21' 45'' N | 69° 13' 10'' E | 765kV | GIS Bay Extension | EPC | GIS | Ongoing | Augmentation of transformation capacity of BHUJ-II GIS Pooling Substation | PBTL | 05.03.2027 | INR 232.25 CR | Extn. of 765kV Bhuj-II PS associated with Augmentation of transformation capacity and Bus Reactor at Bhuj-II PS | 0829BH
0830BH | 400 KV GIS Substation pkg. SS149 : (i) Extn. of 400/220kV Bhuj-II PS associated with Augmentation of transformation capacity at Bhuj-II PS (GIS), and (ii) Extn. of 400/220kV Bhuj-II PS associated with Provision of ICT Augmentation and Bus Reactor at Bhuj-II PS | GUJARAT | KUTCH | 23° 21' 45'' N | 69° 13' 10'' E | 400kv & 220kV | GIS Bay Extension | EPC | GIS | Ongoing | Augmentation of transformation capacity of BHUJ-II GIS Pooling Substation | PBTL | 26.03.2027 | INR 211.26 CR | Extn. of 400/220kV Bhuj-II PS associated with Augmentation of transformation capacity and Bus Reactor at Bhuj-II PS | 0830BH
0830BU | 400 KV GIS Substation pkg. SS149 : Extn. of 400/220kV Bhuj PS associated with Transmission scheme for providing connectivity to REGS at Bhuj PS. | GUJARAT | KUTCH | 23.45583333° N | 69.56235833° E | 400kv & 220kV | AIS & HGIS Bay Extension | EPC | AIS | Ongoing | Augmentation of transformation capacity of BHUJ Pooling Substation | PGCIL | 26.02.2027 | INR 38.12 CR | Extn. of 400/220kV Bhuj PS associated with Transmission scheme for providing connectivity to REGS at Bhuj PS. | 0830BU
CHAYGAON | 220kV GIS Package -B for 220/33kV Chaygaon (GIS) New Substation and 220/33kV Nagaon-II (GIS) New Substation along with associated 220 KV Transmission Line for LILO Portion | ASSAM | KAMRUP | 26° 02' 52" N | 91° 23' 13" E | 220kV | NEW SUBSTATION WITH LILO Works to improve transmission system of AEGCL | EPC | GIS | Completed | Critical node in the state's intra-state transmission network | AEGCL | 25.12.2023 | INR 68.12 CR | 2 NOS. 50 MVA, 220/33 KV POWER TRANSFORMERS WITH 220 KV GIS BAYS AND LILO of BOKAJAN 220 KV TL | CHAYGAON
NAGAON | 220kV GIS Package -B for 220/33kV Chaygaon (GIS) New Substation and 220/33kV Nagaon-II (GIS) New Substation along with associated 220 KV Transmission Line for LILO Portion | ASSAM | NAGAON | 26° 21' 0" N | 92° 40' 0" E | 220kV | NEW SUBSTATION WITH LILO Works to improve transmission system of AEGCL | EPC | GIS | Completed | Critical node in the state's intra-state transmission network | AEGCL | 15.03.2024 | INR 71,48 CR | 2 NOS. 50 MVA, 220/33 KV POWER TRANSFORMERS WITH 220 KV GIS BAYS AND LILO of 220 KV TL | NAGAON
KHUMTAI GIS | 220kV GIS Package -D for 220/132/33kV Khumtai (GIS) New Substation and Bay Extension of 132 kV Sarupathar Substation along with associated 220 kv Transmission line & 132 kv Transmission line. | ASSAM | GOLAGHAT | 26° 30'44.1" N | 93° 58' 18.1" E | 220kV | NEW SUBSTATION WITH TL Works to improve transmission system of AEGCL | EPC | GIS | Completed | Critical node in the state's intra-state transmission network | AEGCL | 18.11.2025 | INR 203.6 CR | 2 NOS. 50 MVA, 220/33 KV POWER TRANSFORMERS WITH 220 KV GIS BAYS AND220 KV TL WORKS | KHUMTAI GIS
DHARAMTUL TSS | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | MORIGAON | 26.1605° N | 92.35183° E | 132kV & 25kV | AIS New Traction Substation | EPC | AIS | Completed | Tractioning substation for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 21.11.2022 | INR 140.24 CR | Tractioning substation for Electrification works of OHE Works of RAILWAYS | DHARAMTUL TSS
LANKA TSS | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | LANKA | 25°54'53"N | 92°57'29"E | 132kV & 25kV | AIS New Traction Substation | EPC | AIS | Completed | Tractioning substation for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 07.01.2023 | INR 140.24 CR | Tractioning substation for Electrification works of OHE Works of RAILWAYS | LANKA TSS
CHAPARMUKH SSP | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | MORIGAON | 26° 12' 08" N | 92° 30' 42" E | 25kV | AIS New Sub-Sectioning and Paralleling Post | EPC | AIS | Completed | SSP for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 13.12.2022 | INR 140.24 CR | SSP for Electrification works of OHE Works of RAILWAYS | CHAPARMUKH SSP
JAMNAMUKH SSP | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | MORIGAON | 26° 06' 16" N | 92° 44' 47" E | 25kV | AIS New Sub-Sectioning and Paralleling Post | EPC | AIS | Completed | SSP for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 28.12.2022 | INR 140.24 CR | SSP for Electrification works of OHE Works of RAILWAYS | JAMNAMUKH SSP
HOJAI SP | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | HOJAI | 26° 00' 7" N | 92° 51' 6" E | 25kV | AIS Sectioning and Paralleling Post | EPC | AIS | Completed | SP for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 10.01.2023 | INR 140.24 CR | SP for Electrification works of OHE Works of RAILWAYS | HOJAI SP
LUMDING SP | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | HOJAI | 25° 45' 01" N | 93° 10' 37" E | 25kV | AIS Sectioning and Paralleling Post | EPC | AIS | Completed | SP for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 03.03.2023 | INR 140.24 CR | SP for Electrification works of OHE Works of RAILWAYS | LUMDING SP
LAMSAKHANG SSP | Design, Supply, Erection , Testing & Commissioning of 25KV, 50Hz Electrification Works including OHE & TSS Works. | ASSAM | WEST KARBI ANGLONG | 25°47'49"N | 93°2'46"E | 25kV | AIS New Sub-Sectioning and Paralleling Post | EPC | AIS | Completed | SSP for Electrification works of OHE Works of RAILWAYS | Central Organization for Railway Electrification, Allahabad (CORE) | 12.03.2023 | INR 140.24 CR | SSP for Electrification works of OHE Works of RAILWAYS | LAMSAKHANG SSP
MATHURA AIS Ss | Design, Engineering Supply and Establishment of 400/220 kv MATHURA (AIS) Substation (NEW) | UTTAR PRADESH | MATHURA | 27°32'07"N | 77°40'16"E | 400kv & 220kV | AIS New Substation | EPC | AIS | Completed | 2x315 MVA and 1x500 MVA Interconnecting Transformers (ICT), | PGCIL | 13.09.2016 | INR 123.05 CR | 2x315 MVA and 1x500 MVA Interconnecting Transformers (ICT), | MATHURA AIS Ss
JHARSUGUDA Ss | Design, Engineering Supply and Establishment of 765 kv Bay Extension at JHARSUGUDA Ss | ODISHA | JHARSUGUDA | 21°46'52.95"N | 83°59'30.59"E | 765kV | AIS Bay Extension | EPC | AIS | Completed | 765 KV LINE BAY WITH SWITCHABLE LINE REACTORS | PGCIL | 14.01.2016 | - | 3X110MVaR Line Reatcor with 765 KV LINE BAYS. | JHARSUGUDA Ss
ANGUL Ss | Design, Engineering Supply and Establishment of 765 kv Bay Extension at ANGUL Ss | ODISHA | ANGUL | 22°46'51.2"N | 85°07'19.19"E | 765kV | AIS Bay Extension | EPC | AIS | Completed | 765 KV LINE BAY WITH SWITCHABLE LINE REACTORS | PGCIL | 24.02.2016 | - | 6X110MVaR Line Reatcor with 765 KV LINE BAYS. | ANGUL Ss
DHARAMJAYGARH Ss | Design, Engineering Supply and Establishment of 765 kv Bay Extension at DHARAMJAYGARH Ss | CHHATTISGARH | RAIGARH | 22.3986° N | 83.3320° E | 765kV | AIS Bay Extension | EPC | AIS | Completed | 765 KV LINE BAY WITH SWITCHABLE LINE REACTORS | PGCIL | 13.03.2016 | - | 3X110MVaR Line Reatcor with 765 KV LINE BAYS. | DHARAMJAYGARH Ss
NTPC, Kudgi | Design, Engineering Supply and Establishment of 400/220/66 KV Switchyard at NTPC, Kudgi | KARNATAKA | VIJAYAPURA | 16°30′00′"N | 75°50′00′′E | 400kV, 220 kV & 66kV | AIS New Substation | EPC | AIS | Completed | 2x500 MVA and 2x315 MVA Interconnecting Transformers (ICT) at 400 KV & 220 KV Voltage levels | NTPC | 10.09.2015 | - | 2x500 MVA and 2x315 MVA Interconnecting Transformers (ICT) at 400 KV & 220 KV Voltage levels | NTPC, Kudgi
KURNOOL SS | Design, Engineering Supply and Establishment of 765/400/220 KV Substation at Kurnool | ANDHRA PRADESH | KURNOOL | 15°40'28.6" N | 78°10'35.23" E | 765kV, 400kV & 220kV | AIS New Substation | EPC | AIS | Completed | 2x1500 MVA and 2x500 MVA Interconnecting Transformers (ICT) at 765 KV & 400 KV Voltage levels | PGCIL | 21.12.2014 | - | 2x1500 MVA and 2x500 MVA Interconnecting Transformers (ICT) at 765 KV & 400 KV Voltage levels | KURNOOL SS
GWALIOR SS | Design, Engineering Supply and Establishment of Bay Extension for ICT augmentation capacity at 765 KV Gwalior Ss. | MADHYA PRADESH | GWALIOR | 26.2300° N | 78.2500° E | 765kV | AIS Bay Extension | EPC | AIS | Completed | 765 KV LINE BAY WITH SWITCHABLE LINE REACTORS | PGCIL | 05.11.2013 | - | 3X110MVaR Line Reatcor with 765 KV LINE BAYS. | GWALIOR SS
BINA SS | Design, Engineering Supply and Establishment of Bay Extension for ICT augmentation capacity at 765 KV BINA Ss. | MADHYA PRADESH | SAGAR | 24°09'54.0" N | 78°06'18.03" E | 765kV | AIS Bay Extension | EPC | AIS | Completed | 765 KV LINE BAY WITH SWITCHABLE LINE REACTORS | PGCIL | 15.12.2013 | - | 3X110MVaR Line Reatcor with 765 KV LINE BAYS. | BINA SS
PIRANA SS | Switchyard Bay Extension Package of PGCIL, Pirana | GUJARAT | AHMEDABAD | 22.956° N | 72.589° E | 400kV | AIS Bay Extension | EPC | AIS | Completed | 400 kv half dia with line bays | PGCIL | 30.04.2013 | - | 400 kv Line Byas for Vadodara line | PIRANA SS
DIPALPUR Ss | Design, Engineering Supply and Establishment of 400/220/132 KV Switchyard at DIPALPUR Substation under BOOT Module (PPP) | HARYANA | SONIPAT | 24°00'43.0" N | 76°57'38.0" E | 400kV, 220 kV & 132kV | AIS New Substation | PPP | AIS | Completed | 2x315 MVA and 2x100 MVA Interconnecting Transformers (ICT) at 400 & 220 KV Voltage levels | HVPNL | 13.02.2012 | - | 2x315 MVA and 2x100 MVA Interconnecting Transformers (ICT) at 400 & 220 KV Voltage levels | DIPALPUR Ss